Earth1B

laboratory safety

10 questions  ·  easy 3 / medium 4 / difficult 3  ·  new set from laboratory-safety.pdf

Easy (a)  ·  3 questions

1.   Earth1Ba  ·  Laboratory safety  ·  Easy     Notes p.11      Answer  D

What is the meaning of the following hazard warning label?

A.  Explosive

B.  Oxidizing

C.  Flammable

D.  Harmful / Irritant    ✓

2.   Earth1Ba  ·  Laboratory safety  ·  Easy     Notes p.4      Answer  B

When lighting a Bunsen burner, what should be done first?

A.  Open the air hole fully, then turn on the gas tap.

B.  Close the air hole first, put a lighted match near the top of the barrel, then turn on the gas tap.    ✓

C.  Put a lighted match inside the barrel before turning on the gas.

D.  Turn on the gas tap with the air hole open and leave it unlit.

3.   Earth1Ba  ·  Laboratory safety  ·  Easy     Notes p.9      Answer  C

How should flammable and volatile liquids be stored?

A.  In a warm place near a Bunsen burner for convenience.

B.  In containers that are always completely filled.

C.  In a cool place, away from direct sunlight and heat sources, and their containers should never be completely filled.    ✓

D.  Under water, like yellow phosphorus.

Medium (b)  ·  4 questions

4.   Earth1Bb  ·  Laboratory safety  ·  Medium     Notes p.11      Answer  A

Which of the following hazard warning labels should be displayed on a bottle of concentrated ethanoic acid?

| A. ✓ | B. | C. | D. |
| --- | --- | --- | --- |

5.   Earth1Bb  ·  Laboratory safety  ·  Medium     Notes p.11      Answer  B

If an irritant such as dilute mineral acid is accidentally spilt onto the skin, which action should be taken?

A.  Ignore it because dilute acids are not hazardous.

B.  Wash the affected area with a lot of water.    ✓

C.  Neutralize it immediately with concentrated sodium hydroxide.

D.  Cover the area with paraffin oil.

6.   Earth1Bb  ·  Laboratory safety  ·  Medium     Notes p.10      Answer  D

Which of the following precautions should be taken when handling an explosive substance?

(1) Keep away from heat and naked flames.

(2) Avoid shock or friction.

(3) Make sure the container is properly stoppered.

A.  (1) and (2) only

B.  (1) and (3) only

C.  (2) and (3) only

D.  (1), (2) and (3)    ✓

7.   Earth1Bb  ·  Laboratory safety  ·  Medium     Notes p.4      Answer  C

What happens when the air hole of a Bunsen burner is open?

A.  Burning is incomplete and the flame is luminous and yellow with a lower temperature.

B.  No gaseous fuel is supplied to the burner.

C.  A lot of air mixes with the gaseous fuel, burning is more complete, and the flame is non-luminous and blue with a high temperature.    ✓

D.  The gas tap can no longer control the size of the flame.

Difficult (c)  ·  3 questions

8.   Earth1Bc  ·  Laboratory safety  ·  Difficult     Notes p.10      Answer  A

Which of the following statements about carcinogenic substances are correct?

(1) Benzene and asbestos are known carcinogens.

(2) Carcinogens should be avoided at schools.

(3) Carcinogens may be handled without gloves if the laboratory is cool.

A.  (1) and (2) only    ✓

B.  (1) and (3) only

C.  (2) and (3) only

D.  (1), (2) and (3)

9.   Earth1Bc  ·  Laboratory safety  ·  Difficult     Notes p.8      Answer  B

When a reaction mixture is being heated and the gas evolved is bubbled through a testing solution, why must the delivery tube be taken out of the testing solution before the flame is removed?

A.  To make the testing solution more concentrated.

B.  To prevent sucking back of the testing solution.    ✓

C.  To increase the temperature of the flame.

D.  To dry the collected gas completely.

10.   Earth1Bc  ·  Laboratory safety  ·  Difficult     Notes p.11      Answer  D

Which of the following precautions should be taken when handling a corrosive substance such as concentrated ammonia?

(1) Wear a laboratory coat, safety spectacles and gloves.

(2) Perform the experiment in a fume cupboard.

(3) Avoid contact with the eyes and skin.

A.  (1) and (2) only

B.  (1) and (3) only

C.  (2) and (3) only

D.  (1), (2) and (3)    ✓

Earth1B  Answer key

New number  ·  difficulty  ·  answer  ·  notes location

| No. | Diff | Answer | Source |
| --- | --- | --- | --- |
| 1 | easy (a) | D | laboratory-safety.pdf p.11 (harmful / irritant) |
| 2 | easy (a) | B | laboratory-safety.pdf p.4 (Bunsen burner) |
| 3 | easy (a) | C | laboratory-safety.pdf p.9 (storage of chemicals) |
| 4 | medium (b) | A | laboratory-safety.pdf p.11 (corrosive) |
| 5 | medium (b) | B | laboratory-safety.pdf p.11 (irritant spill) |
| 6 | medium (b) | D | laboratory-safety.pdf p.10 (explosive) |
| 7 | medium (b) | C | laboratory-safety.pdf p.4 (Bunsen burner) |
| 8 | difficult (c) | A | laboratory-safety.pdf p.10 (carcinogenic) |
| 9 | difficult (c) | B | laboratory-safety.pdf p.8 (testing gases) |
| 10 | difficult (c) | D | laboratory-safety.pdf p.11 (corrosive) |